## Building Report - BL30
|  | square ft | electric | kw | kbtu |  |  |  | gas |  |  | kbtu | [18 empty] | total costs | cost sq ft | total kbtu | kbtu sq foot
[16 empty] | gas therms | kbtu
|  |  |  | Use |  | Demand | Cost | Cost/Unit
BCPSS000 | 2400 WESTFIELD AV
flag 7. per unit electric
Commodity: |  |  | Electric | Unit: | KWH
|  |  |  | 1579 | 5387.548 | 0 | 346.56 | $0.22 | [22 empty] | 346.56
BCPSS004 | Steuart Hill Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: | GAL
|  | 84330 |  | 921900 | 3145522.8 | 1992 | 105117.12 | $0.11 |  | 844 |  | 84400 | 1096.84 | $1.30 |  | 21471 | 2973733.5 | 58351.99 | $2.72 | [11 empty] | 164565.95 | 1.9515 | 6203656.3 | 73.564
Commodity:
Commodity:
BCPSS005 | Langston Hughes Elementary
Commodity: |  |  | Electric | Unit: | KWH
[15 empty] | Oil #2 | Unit: | GAL |  |  | Water | Unit: | MGAL
|  | 41715 |  | 549300 | 1874211.6 | 1185 | 49506.74 | $0.09 | [7 empty] | 13377 | 1852714.5 | 38042.41 | $2.84 |  | 655.3356 |  | 13707.85 | $20.92 | [6 empty] | 101257 | 2.4274 | 3726926.1 | 89.3426
Commodity:
BCPSS007 | Cecil Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | water | unit | mgal
|  | 70991 |  | 521900 | 1780722.8 | 1870 | 62115.07 | $0.12 |  | 17984 |  | 1798400 | 15205.51 | $0.85 | [6 empty] | 7854.3019 |  | 51944.49 | $6.61 | [6 empty] | 129265.07 | 1.8209 | 3579122.8 | 50.4166
BCPSS008 | City Springs |  |  |  | 0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: | GAL |  |  | Water | Unit: | MGAL
|  | 79078 |  | 539300 | 1840091.6 | 1369 | 57925.33 | $0.11 |  | 4794 |  | 479400 | 4301.58 | $0.90 |  | 25659 | 3553771.5 | 65453.02 | $2.55 |  |  |  | 14522.2 | $22.44 | [6 empty] | 142202.13 | 1.7983 | 5873263.1 | 74.2718
Commodity:
BCPSS010 | James McHenry Elementary
|  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 85891 |  | 605300 | 2065283.6 | 1674 | 65296.5 | $0.11 |  | 29295 |  | 2929500 | 31561.13 | $1.08 | [6 empty] | 5633.9411 |  | 38971.57 | $6.92 | [6 empty] | 135829.2 | 1.5814 | 4994783.6 | 58.1526
BCPSS011 | Eutaw-Marshburn Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 107365 |  | 598200 | 2041058.4 | 1618 | 64549.5 | $0.11 |  | 42821 |  | 4282100 | 35274.87 | $0.82 | [6 empty] | 1795.44 |  | 13308.97 | $7.41 | [6 empty] | 113133.34 | 1.0537 | 6323158.4 | 58.894
BCPSS012 | Lakeland Elementary/Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 100648 |  | 991700 | 3383680.4 | 2923 | 116014.48 | $0.12 |  | 22598 |  | 2259800 | 24253.37 | $1.07 | [6 empty] | 701.7178 |  | 13675.42 | $19.49 | [6 empty] | 153943.27 | 1.5295 | 5643480.4 | 56.0715
BCPSS013
Tench Tilghman Elementary
Commodity:
|  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: | GAL |  |  | Water | Unit: | MGAL
Commodity: |  | 59973 |  | 691800 | 2360421.6 | 1938 | 74417.3 | $0.11 | [7 empty] | 7085 | 981272.5 | 19615.2 | $2.77 |  | 1068.2868 |  | 7843.49 | $7.34 | [6 empty] | 101875.99 | 1.6987 | 3341694.1 | 55.72
Commodity:
BCPSS016
Johnston Square Elementary
Commodity:
|  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: | GAL |  |  | Water | Unit: | MGAL
Commodity: |  | 88053 |  | 407040 | 1388820.48 | 1209 | 48830.13 | $0.12 |  | 3175 |  | 317500 | 3488.63 | $1.10 |  | 18877 | 2614464.5 | 53412.47 | $2.83 |  | 4975.6131 |  | 33199.12 | $6.67 | [6 empty] | 138930.35 | 1.7707 | 4320784.98 | 49.0703
Commodity:
Commodity:
BCPSS021 | Hilton Elementary
Commodity: | [14 empty] | Oil #2 | Unit: | GAL
|  |  | Electric | Unit: |  |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 90801 |  | 377120 | 1286733.44 | 565 | 45183.73 | $0.12 |  | 2285 |  | 228500 | 2256.46 | $0.99 |  | 12800 | 1772800 | 43982.39 | $3.44 |  | 2197.9178 |  | 15500.76 | $7.05 | [6 empty] | 106923.34 | 1.1776 | 3288033.44 | 36.2114
Commodity:
Commodity:
Commodity:
BCPSS022
George Washington Elementary
Commodity: | [8 empty] | Natural Gas | Unit: | THERM
|  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
Commodity: |  | 39804 |  | 489300 | 1669491.6 | 1008 | 53384.53 | $0.11 |  | 15318 |  | 1531800 | 13043.4 | $0.85 | [6 empty] | 611.1977 |  | 6230.74 | $10.19 | [6 empty] | 72658.67 | 1.8254 | 3201291.6 | 80.4264
Commodity:
BCPSS023
only electric | General Wolfe Elementary
Commodity:
|  |  | Electric | Unit: | KWH
|  | 22671 |  | 451300 | 1539835.6 | 1660 | 50036.88 | $0.11 | [22 empty] | 50036.88 | 2.2071 | 1539835.6 | 67.9209
BCPSS024 | Westside Elementary
Commodity:
|  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
[15 empty] | Oil #2 | Unit: | GAL |  |  | Water | Unit: | MGAL
Commodity: |  | 70728 |  | 584900 | 1995678.8 | 1435 | 64717.08 | $0.11 |  | 93558 |  | 9355800 | 75452.75 | $0.81 |  | 4408 | 610508 | 11991.08 | $2.72 |  | 5505.2679 |  | 39787.44 | $7.23 | [6 empty] | 191948.35 | 2.7139 | 11961986.8 | 169.1266
Commodity:
BCPSS025
Dr. Rayner Browne Elementary
Commodity:
|  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
Commodity: |  | 48608 |  | 778800 | 2657265.6 | 2007 | 83333.12 | $0.11 | [12 empty] | 2580.945 |  | 23664.39 | $9.17 | [6 empty] | 106997.51 | 2.2012 | 2657265.6 | 54.6672
Commodity:
BCPSS027
Commodore John Rodgers Elementary
Commodity:
|  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
Commodity: |  | 104079 |  | 1250000 | 4265000 | 2772 | 141338.26 | $0.11 |  | 81779 |  | 8177900 | 65431.29 | $0.80 | [6 empty] | 3262.4641 |  | 26286.2 | $8.06 | [6 empty] | 233055.75 | 2.2392 | 12442900 | 119.5525
Commodity:
BCPSS028 | William Pinderhughes Elementary
[20 empty] | Water | Unit: | MGAL
|  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 33759 |  | 126600 | 431959.2 | 396 | 18480.45 | $0.15 |  | 11113 |  | 1111300 | 9512.3 | $0.86 | [6 empty] | 59.848 |  | 6407.53 | $107.06 | [6 empty] | 34400.28 | 1.019 | 1543259.2 | 45.714
Commodity:
BCPSS029 | Matthew A. Henson Elementary
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
[20 empty] | Water | Unit: | MGAL
|  | 75228 |  | 317400 | 1082968.8 | 946 | 35280.1 | $0.11 |  | 2516 |  | 251600 | 2866.82 | $1.14 |  | 18700 | 2589950 | 50015.41 | $2.67 |  | 1633.1023 |  | 11548.21 | $7.07 | [6 empty] | 99710.54 | 1.3254 | 3924518.8 | 52.1683
BCPSS031 | Coldstream Park Elementary/Middle | [18 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 81998 |  | 625200 | 2133182.4 | 1924 | 72823.94 | $0.12 |  | 29659 |  | 2965900 | 35821.71 | $1.21 | [6 empty] | 2526.3337 |  | 24760.13 | $9.80 | [6 empty] | 133405.78 | 1.6269 | 5099082.4 | 62.1854
BCPSS034 | Charles Carroll Barrister Elem.
Commodity: |  |  | Electric | Unit: | KWH
[15 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 47213 |  | 532000 | 1815184 | 1532 | 57387.22 | $0.11 | [7 empty] | 12800 | 1772800 | 36996.44 | $2.89 |  | 11.9696 |  | 340.68 | $28.46 | [6 empty] | 94724.34 | 2.0063 | 3587984 | 75.9957
BCPSS035-078 | Harlem Park Middle
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 378362 |  | 1892400 | 6456868.8 | 4364 | 179332.28 | $0.09 |  | 4434 |  | 443400 | 4120.65 | $0.93 |  | 98795 | 13683107.5 | 273408.81 | $2.77 |  | 2650.5183 |  | 19514.21 | $7.36 | [6 empty] | 476375.95 | 1.259 | 20583376.3 | 54.4013
BCPSS036 | Harford Heights Primary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
[20 empty] | Water | Unit: | MGAL
|  | 128902 |  | 2455200 | 8377142.4 | 5443 | 228960.32 | $0.09 |  | 59465 |  | 5946500 | 68704.8 | $1.16 |  | 24777 | 3431614.5 | 68407.06 | $2.76 |  | 2615.3576 |  | 27296.63 | $10.44 | [6 empty] | 393368.81 | 3.0517 | 17755256.9 | 137.7423
Commodity:
Commodity:
BCPSS039 | Dallas F. Nicholas Sr. Elementary
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
|  | 70619 |  | 869400 | 2966392.8 | 2187 | 87572.04 | $0.10 | [12 empty] | 1931.5942 |  | 13511.39 | $6.99 | [6 empty] | 101083.43 | 1.4314 | 2966392.8 | 42.0056
Commodity:
Commodity:
BCPSS040 | Lake Clifton/Eastern High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 462082 |  | 3705600 | 12643507.2 | 8392 | 347487.45 | $0.09 |  | 162908 |  | 16290800 | 174534.23 | $1.07 | [6 empty] | 12413.2233 |  | 81238.45 | $6.54 | [6 empty] | 603260.13 | 1.3055 | 28934307.2 | 62.6173
Commodity:
Commodity:
BCPSS042 | Garrison Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 165561 |  | 953500 | 3253342 | 2262 | 117786.77 | $0.12 |  | 149576 |  | 14957600 | 110690.17 | $0.74 | [6 empty] | 933.6288 |  | 10306.71 | $11.04 | [6 empty] | 238783.65 | 1.4423 | 18210942 | 109.9954
Commodity:
Commodity:
why - minus water
BCPSS043-CLOSED | Highlandtown Middle | [18 empty] | Water | Unit: | MGAL
[21 empty] | -5627.9563 |  | -33618.97 | $0.00 | [6 empty] | -33618.97 | #DIV/0! | 0
Commodity:
BCPSS044 | Montebello Elementary Jr. Academy
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
[20 empty] | Water | Unit: | MGAL
|  | 87700 |  | 764100 | 2607109.2 | 1996 | 85898.13 | $0.11 |  | 37323 |  | 3732300 | 30737.21 | $0.82 | [6 empty] | 3521.3067 |  | 24979.55 | $7.09 | [6 empty] | 141614.89 | 1.6148 | 6339409.2 | 72.2852
Commodity:
Commodity:
BCPSS045 | Federal Hill Preparatory
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [13 empty] | Steam | Unit: | MLB
|  | 77052 |  | 967200 | 3300086.4 | 1807 | 108714.22 | $0.11 |  | 77 |  | 7700 | 493.71 | $6.41 | [11 empty] | 6941.1 |  | 22000000 | 98015.52 | $14.12 | 207223.45 | 2.6894 | 25307786.4 | 328.4507
Commodity:
Commodity:
BCPSS046 | Chinquapin Middle
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 179304 |  | 608140 | 2074973.68 | 1442 | 66619.3 | $0.11 |  | 79369 |  | 7936900 | 62460.36 | $0.79 | [6 empty] | 103.2378 |  | 23691.49 | $229.48 | [6 empty] | 152771.15 | 0.85202 | 10011873.68 | 55.8374
Commodity:
Commodity:
BCPSS047 | Hampstead Hill Academy(K-6)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 46018 |  | 503400 | 1717600.8 | 1422 | 66434.8 | $0.13 |  | 19003 |  | 1900300 | 15972.52 | $0.84 | [6 empty] | 4024.778 |  | 28399.01 | $7.06 | [6 empty] | 110806.33 | 2.4079 | 3617900.8 | 78.6193
Commodity:
Commodity:
BCPSS049 | Northeast Middle
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
|  | 115866 |  | 1447800 | 4939893.6 | 3540 | 152233.25 | $0.11 | [7 empty] | 21658 | 2999633 | 56279.05 | $2.60 | [11 empty] | 208512.3 | 1.7996 | 7939526.6 | 68.5234
Commodity:
BCPSS050 | Abbottston Elementary
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 66544 |  | 1199700 | 4093376.4 | 3420 | 140923.02 | $0.12 |  | 33199 |  | 3319900 | 27438.43 | $0.83 | [6 empty] | 284.278 |  | 13596.1 | $47.83 | [6 empty] | 181957.55 | 2.7344 | 7413276.4 | 111.4041
Commodity:
Commodity:
BCPSS051 | Waverly Elementary/Middle(PreK-7)
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
|  | 48031 |  | 585600 | 1998067.2 | 1171 | 61975.04 | $0.11 |  | 17185 |  | 1718500 | 14514.49 | $0.84 | [6 empty] | 845.353 |  | 7554.58 | $8.94 | [6 empty] | 84044.11 | 1.7498 | 3716567.2 | 77.3785
Commodity:
Commodity:
BCPSS053 | Margaret Brent Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
[20 empty] | Water | Unit: | MGAL
|  | 46550 |  | 665700 | 2271368.4 | 1479 | 70432.07 | $0.11 | [7 empty] | 7582 | 1050107 | 20611.77 | $2.72 |  | 156.3529 |  | 15095.17 | $96.55 | [6 empty] | 106139.01 | 2.2801 | 3321475.4 | 71.3529
Commodity:
Commodity:
BCPSS054 | Barclay Elementary/Middle(PreK-8) | [18 empty] | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
Commodity: |  |  | Electric | Unit: | KWH
|  | 64782 |  | 249400 | 850952.8 | 698 | 30227.61 | $0.12 |  | 2680 |  | 268000 | 2972.59 | $1.11 |  | 26202 | 3628977 | 70419.96 | $2.69 |  | 832.6353 |  | 7025.95 | $8.44 | [6 empty] | 110646.11 | 1.708 | 4747929.8 | 73.2909
Commodity:
Commodity:
Commodity:
BCPSS055 | Hampden Elementary |  |  |  |  | 64,760 SQFEET
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
[15 empty] | Oil #2 | Unit:
|  | 65071 |  | 766700 | 2615980.4 | 2112 | 82291.92 | $0.11 | [7 empty] | 11600 | 1606600 | 32969.34 | $2.84 |  | 338.8893 |  | 4597.55 | $13.57 | [6 empty] | 119858.81 | 1.842 | 4222580.4 | 64.8919
Commodity:
Commodity:
BCPSS056 | Robert Poole Middle |  |  |  |  | 120,830 SQFEET
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 120190 |  | 1101300 | 3757635.6 | 2151 | 115022.38 | $0.10 |  | 109187 |  | 10918700 | 84752.18 | $0.78 | [6 empty] | 9981.8983 |  | 66294.66 | $6.64 | [6 empty] | 266069.22 | 2.2137 | 14676335.6 | 122.1095
Commodity:
Commodity:
BCPSS057 | Lombard Middle (6-8)
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 207348 |  | 1208270 | 4122617.24 | 2361 | 125797.15 | $0.10 |  | 94 |  | 9400 | 515.82 | $5.49 |  | 35501 | 4916888.5 | 104913.09 | $2.96 |  | 1976.4802 |  | 16413.79 | $8.30 | [6 empty] | 247639.85 | 1.1943 | 9048905.74 | 43.6412
Commodity:
Commodity:
Commodity:
BCPSS058 | Pitts AshburtonElementary/Middle (PreK-8)
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH
|  | 84449 |  | 640000 | 2183680 | 1679 | 68455.96 | $0.11 |  | 31205 |  | 3120500 | 33069.49 | $1.06 | [6 empty] | 1309.175 |  | 16386.13 | $12.52 | [6 empty] | 117911.58 | 1.3962 | 5304180 | 62.8093
Commodity:
Commodity:
BCPSS060 | Gwynns Falls Elementary
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM
|  | 63283 |  | 289900 | 989138.8 | 843 | 34525.95 | $0.12 |  | 50151 |  | 5015100 | 53188.07 | $1.06 | [6 empty] | 2695.4043 |  | 23956.69 | $8.89 | [6 empty] | 111670.71 | 1.7646 | 6004238.8 | 94.8792
Commodity:
Commodity:
BCPSS061 | John Eager Howard Elementary
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 84715 |  | 335132 | 1143470.384 | 852 | 39922.16 | $0.12 |  | 38249 |  | 3824900 | 31586.43 | $0.83 | [6 empty] | 0 |  | 1696.54 | $0.00 | [6 empty] | 73205.13 | 0.86413 | 4968370.384 | 58.6481
Commodity:
Commodity:
BCPSS062 | Edgecombe Circle Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 91345 |  | 825020 | 2814968.24 | 1442 | 93592.54 | $0.11 |  | 2662 |  | 266200 | 2570.6 | $0.97 |  | 32263 | 4468425.5 | 89158.18 | $2.76 | [11 empty] | 185321.32 | 2.0288 | 7549593.74 | 82.6492
Commodity:
Commodity:
BCPSS063 | Rosemont Elementary (PreK-5)
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
[15 empty] | Oil #2 | Unit:
|  | 82530 |  | 582100 | 1986125.2 | 857 | 67605.31 | $0.12 |  | 83109 |  | 8310900 | 85372.36 | $1.03 |  | 40 | 5540 | 246.55 | $6.16 |  | 339.6374 |  | 13573.3 | $39.96 | [6 empty] | 166797.52 | 2.0211 | 10302565.2 | 124.8342
Commodity:
Commodity:
Commodity:
BCPSS064 | Liberty Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 76228 |  | 836000 | 2852432 | 2243 | 88702.75 | $0.11 | [7 empty] | 21854 | 3026779 | 59946.5 | $2.74 |  | 1051.8286 |  | 23537.37 | $22.38 | [6 empty] | 172186.62 | 2.2588 | 5879211 | 77.1267
Commodity:
Commodity:
BCPSS066 | Mt. Royal Elementary/Middle (K-8)
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
|  | 147882 |  | 472920 | 1613603.04 | 1241 | 54124.65 | $0.11 |  | 41580 |  | 4158000 | 34352.65 | $0.83 | [6 empty] | 4035.2514 |  | 27103.53 | $6.72 | [6 empty] | 115580.83 | 0.78157 | 5771603.04 | 39.0284
Commodity:
Commodity:
BCPSS067 | Edgewood Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 66999 |  | 209400 | 714472.8 | 676 | 23842.17 | $0.11 |  | 3201 |  | 320100 | 3492.31 | $1.09 |  | 17528 | 2427628 | 42457.3 | $2.42 |  | 4366.6597 |  | 43074.39 | $9.86 | [6 empty] | 112866.17 | 1.6846 | 3462200.8 | 51.6754
Commodity:
Commodity:
Commodity:
BCPSS070/160 | Southern High/Digital Harbor
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL |  |  | Steam | Unit: | MLB
[15 empty] | Oil #2 | Unit:
|  | 308781 |  | 4571100 | 15596593.2 | 8733 | 474988.71 | $0.10 |  | 4147 |  | 414700 | 3792.02 | $0.91 |  | 28032 | 3882432 | 76196.12 | $2.72 |  | 6305.7349 |  | 41290.6 | $6.55 |  | 2066.8 |  | 54000000 | 65805.51 | $31.84 | 662072.96 | 2.1442 | 73893725.2 | 239.3079
Commodity:
Commodity:
Commodity:
Commodity:
BCPSS073 | Sarah M. Roach Elementary
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH
|  | 43385 |  | 681900 | 2326642.8 | 2154 | 67143.4 | $0.10 | [12 empty] | 615.6863 |  | 13615.58 | $22.11 | [6 empty] | 80758.98 | 1.8614 | 2326642.8 | 53.6278
Commodity:
BCPSS075 | Calverton Middle
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM
|  | 278570 |  | 1139760 | 3888861.12 | 2364 | 115868.39 | $0.10 |  | 3788 |  | 378800 | 3464.93 | $0.91 |  | 63197 | 8752784.5 | 166517.98 | $2.63 |  | 6754.5949 |  | 52835.49 | $7.82 | [6 empty] | 338686.79 | 1.2158 | 13020445.62 | 46.7403
Commodity:
Commodity:
Commodity:
BCPSS076 | Francis Scott KeyTechnology Magnet School
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
[20 empty] | Water | Unit: | MGAL
|  | 92614 |  | 741900 | 2531362.8 | 1895 | 85043.06 | $0.11 |  | 26735 |  | 2673500 | 28907.13 | $1.08 | [6 empty] | 1433.3596 |  | 9732.18 | $6.79 | [6 empty] | 123682.37 | 1.3355 | 5204862.8 | 56.1995
Commodity:
Commodity:
BCPSS077/170 | Thurgood marshall Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 262134 |  | 1357700 | 4632472.4 | 3147 | 141057.95 | $0.10 |  | 85476 |  | 8547600 | 67145.72 | $0.79 | [6 empty] | 2878.6888 |  | 19869.92 | $6.90 | [6 empty] | 228073.59 | 0.87006 | 13180072.4 | 50.2799
Commodity:
Commodity:
BCPSS079 | William H. Lemmel Middle
[15 empty] | Oil #2 | Unit:
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 233334 |  | 999200 | 3409270.4 | 2390 | 119276.35 | $0.12 |  | 532 |  | 53200 | 924.27 | $1.74 |  | 98313 | 13616350.5 | 262092.49 | $2.67 | [11 empty] | 382293.11 | 1.6384 | 17078820.9 | 73.1947
Commodity:
Commodity:
BCPSS080 | West Baltimore Middle (6-8)
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
|  | 250570 |  | 750700 | 2561388.4 | 1844 | 83085.81 | $0.11 |  | 2132 |  | 213200 | 2129.14 | $1.00 |  | 52586 | 7283161 | 151251.01 | $2.88 | [11 empty] | 236465.96 | 0.94371 | 10057749.4 | 40.1395
Commodity:
Commodity:
BCPSS081 | North Bend Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
[20 empty] | Water | Unit: | MGAL
|  | 80717 |  | 536600 | 1830879.2 | 1291 | 62739.49 | $0.12 |  | 26635 |  | 2663500 | 22166.25 | $0.83 | [6 empty] | 662.8166 |  | 23456.15 | $35.39 | [6 empty] | 108361.89 | 1.3425 | 4494379.2 | 55.6807
Commodity:
Commodity:
BCPSS082 | Dr. Roland N. Patterson Sr.Academy
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH
[20 empty] | Water | Unit: | MGAL
|  | 331736 |  | 3172800 | 10825593.6 | 6998 | 297882.2 | $0.09 |  | 360725 |  | 36072500 | 329780.36 | $0.91 | [6 empty] | 2856.9939 |  | 37560.06 | $13.15 | [6 empty] | 665222.62 | 2.0053 | 46898093.6 | 141.3717
Commodity:
Commodity:
BCPSS083 | William Paca Elementary (PreK-5)
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
[20 empty] | Water | Unit: | MGAL
|  | 77327 |  | 854400 | 2915212.8 | 2628 | 91662.81 | $0.11 | [7 empty] | 9018 | 1248993 | 24064.09 | $2.67 |  | 687.5039 |  | 5264.94 | $7.66 | [6 empty] | 120991.84 | 1.5647 | 4164205.8 | 53.8519
Commodity:
Commodity:
BCPSS084 | Thomas Johnson Elementary
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
|  | 70579 |  | 983572 | 3355947.664 | 2396 | 104952.86 | $0.11 | [7 empty] | 14325 | 1984012.5 | 39755.42 | $2.78 |  | 1543.3303 |  | 19278.64 | $12.49 | [6 empty] | 163986.92 | 2.3235 | 5339960.164 | 75.6593
Commodity:
Commodity:
BCPSS085 | Fort Worthington Elementary
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM
[15 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 75603 |  | 323680 | 1104396.16 | 1121 | 36338.27 | $0.11 |  | 2346 |  | 234600 | 2697.33 | $1.15 |  | 17691 | 2450203.5 | 47764.64 | $2.70 |  | 472.0511 |  | 6209.87 | $13.16 | [6 empty] | 93010.11 | 1.2302 | 3789199.66 | 50.1197
Commodity:
Commodity:
Commodity:
BCPSS086 | Lakewood Elementary
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH
[20 empty] | Water | Unit: | MGAL
|  | 22980 |  | 204300 | 697071.6 | 0 | 22545.48 | $0.11 |  | 11673 |  | 1167300 | 12639.9 | $1.08 | [6 empty] | 131.6656 |  | 3638.14 | $27.63 | [6 empty] | 38823.52 | 1.6894 | 1864371.6 | 81.1302
Commodity:
Commodity:
BCPSS087 | Windsor Hills Elementary
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
[15 empty] | Oil #2 | Unit:
|  | 46385 |  | 454200 | 1549730.4 | 1286 | 52849.54 | $0.12 |  | 1281 |  | 128100 | 1682.72 | $1.31 |  | 22277 | 3085364.5 | 62178.62 | $2.79 |  | 210.2161 |  | 6183.75 | $29.42 | [6 empty] | 122894.63 | 2.6494 | 4763194.9 | 102.6883
Commodity:
Commodity:
Commodity:
BCPSS088 | Lyndhurst Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM
|  | 67990 |  | 244900 | 835598.8 | 644 | 28850.37 | $0.12 |  | 4589 |  | 458900 | 4781.48 | $1.04 |  | 22901 | 3171788.5 | 61924.31 | $2.70 |  | 1925.6094 |  | 15152.82 | $7.87 | [6 empty] | 110708.98 | 1.6283 | 4466287.3 | 65.6904
Commodity:
Commodity:
Commodity:
BCPSS089 | Rognel Hghts Elem/Middle (K-8)
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 79033 |  | 625800 | 2135229.6 | 1528 | 73287.87 | $0.12 |  | 56233 |  | 5623300 | 62968.31 | $1.12 | [6 empty] | 2177.7191 |  | 15295.02 | $7.02 | [6 empty] | 151551.2 | 1.9176 | 7758529.6 | 98.1682
Commodity:
Commodity:
BCPSS093 | Professional Center - Training
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 310076 |  | 2134800 | 7283937.6 | 5000 | 202770.91 | $0.09 |  | 123208 |  | 12320800 | 98921.76 | $0.80 | [6 empty] | 6056.6176 |  | 45982.19 | $7.59 | [6 empty] | 347674.86 | 1.1213
Commodity:
Commodity:
BCPSS095 | Franklin Square Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 74617 |  | 330360 | 1127188.32 | 972 | 38846.99 | $0.12 |  | 1772 |  | 177200 | 1837.6 | $1.04 |  | 18954 | 2625129 | 49629.5 | $2.62 |  | 369.5614 |  | 11558.1 | $31.28 | [6 empty] | 101872.19 | 1.3653 | 3929517.32 | 52.6625
Commodity:
Commodity:
Commodity:
BCPSS096-413 | Harbor City Learning Center
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 74597 |  | 727700 | 2482912.4 | 1733 | 77167.88 | $0.11 |  | 35128 |  | 3512800 | 37633.49 | $1.07 | [6 empty] | 1857.5323 |  | 13467.51 | $7.25 | [6 empty] | 128268.88 | 1.7195 | 5995712.4 | 80.3747
Commodity:
Commodity:
BCPSS097 | Collington Square Elementary (K-8)
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 75185 |  | 573600 | 1957123.2 | 2044 | 63363.35 | $0.11 |  | 1384 |  | 138400 | 1748.82 | $1.26 |  | 16377 | 2268214.5 | 41748.21 | $2.55 |  | 3566.9408 |  | 24798.93 | $6.95 | [6 empty] | 131659.31 | 1.7511 | 4363737.7 | 58.04
Commodity:
Commodity:
Commodity:
BCPSS098 | Samuel F. B. Morse Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 66966 |  | 586200 | 2000114.4 | 1611 | 69316.59 | $0.12 |  | 1285 |  | 128500 | 1649.52 | $1.28 |  | 13439 | 1861301.5 | 28508.05 | $2.12 |  | 315.6982 |  | 2755.12 | $8.73 | [6 empty] | 102229.28 | 1.5266 | 3989915.9 | 59.5812
Commodity:
Commodity:
Commodity:
BCPSS102 | Thomas G. HayesElementary (PreK-5)
note: sewer charge
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL |  |  | Steam | Unit: | MLB
|  | 90538 |  | 328600 | 1121183.2 | 761 | 37814.85 | $0.12 |  | 2327 |  | 232700 | 2671.57 | $1.15 | [5 empty] | Sewer | 0 |  | 1471 | $0.00 |  | 2511.8 |  | 33000000 | 63525.34 | $25.29 | 105482.76 | 1.1651 | 34353883.2 | 379.4416
Commodity: | [19 empty] | Sewer | Unit: | MGAL
[21 empty] | 0 |  |  | $0.00
Commodity:
Commodity:
Commodity:
BCPSS105 | Moravia Park(PreK-8) (2 bldgs)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 158116 |  | 1460400 | 4982884.8 | 3427 | 153637.02 | $0.11 |  | 25073 |  | 2507300 | 20910.01 | $0.83 | [6 empty] | 270.0641 |  | 6212.71 | $23.00 | [6 empty] | 180759.74 |  | 7490184.8 | 47.3715
Commodity:
Commodity:
BCPSS107 | Gilmor Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 78264 |  | 551300 | 1881035.6 | 1424 | 65359.63 | $0.12 |  | 1676 |  | 167600 | 1768.99 | $1.06 |  | 22237 | 3079824.5 | 62694.83 | $2.82 |  | 873.0327 |  | 8941.39 | $10.24 | [6 empty] | 138764.84 | 1.773 | 5128460.1 | 65.5277
Commodity:
Commodity:
Commodity:
BCPSS115 | Waverly Career Center
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 42155 |  | 295700 | 1008928.4 | 475 | 35038.8 | $0.12 |  | 15563 |  | 1556300 | 13239.23 | $0.85 | [6 empty] | 222.9338 |  | 5331.83 | $23.92 | [6 empty] | 53609.86 | 1.2717 | 2565228.4 | 60.8523
Commodity:
Commodity:
BCPSS117 | Duke Ellington Center
not found sq ft
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  |  |  | 282800 | 964913.6 | 823 | 34246.8 | $0.12 |  | 13014 |  | 1301400 | 11082.66 | $0.85
Commodity:
BCPSS122/122-451 | Samuel Coleridge-Taylor Elementary (PreK-5)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 103177 |  | 1248000 | 4258176 | 3063 | 131636.55 | $0.11 |  | 177815 |  | 17781500 | 186454.09 | $1.05 | [6 empty] | 4677.1212 |  | 37190.3 | $7.95 | [6 empty] | 355280.94 | 3.4434 | 22039676 | 213.6104
Commodity:
Commodity:
BCPSS124 | Bay-Brook Elementary(PreK-5)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 57101 |  | 893300 | 3047939.6 | 1936 | 94390.76 | $0.11 |  | 21778 |  | 2177800 | 18839.26 | $0.87 | [6 empty] | 1211.922 |  | 18385.69 | $15.17 | [6 empty] | 131615.71 | 2.305 | 5225739.6 | 91.5175
Commodity:
Commodity:
BCPSS125 | Furman L. Templeton Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 85192 |  | 495500 | 1690646 | 1402 | 56773.76 | $0.11 |  | 92942 |  | 9294200 | 74687.08 | $0.80 | [6 empty] | 2894.3989 |  | 20547.73 | $7.10 | [6 empty] | 152008.57 | 1.7843 | 10984846 | 128.9422
Commodity:
Commodity:
BCPSS130 | Booker T. Washington Middle | [18 empty] | Water | Unit: | MGAL
[9 empty] | Natural Gas | Unit: | THERM
Commodity: |  |  | Electric | Unit: | KWH
|  | 205645 |  | 1050900 | 3585670.8 | 2451 | 110556.98 | $0.11 |  | 80044 |  | 8004400 | 62974.86 | $0.79 | [6 empty] | 1345.0838 |  | 8933.05 | $6.64 | [6 empty] | 182464.89 | 0.88728 | 11590070.8 | 56.3596
Commodity:
Commodity:
BCPSS133 | Paul Lawrence Dunbar Middle
no electric
Commodity: | [8 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL |  |  | Steam | Unit: | MLB
|  | 131740 | [7 empty] | 1976 |  | 197600 | 2389.3 | $1.21 | [6 empty] | 770.543 |  | 23565.87 | $30.58 |  | 2333.6 |  | 33000000 | 65151.11 | $27.92 | 91106.28 | 0.69156 | 33197600 | 251.9933
Commodity:
Commodity:
BCPSS134 | Walter P. Carter Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 73466 |  | 714700 | 2438556.4 | 2514 | 77892.99 | $0.11 | [7 empty] | 26200 | 3628700 | 71433.1 | $2.73 |  | 6185.2908 |  | 49308.64 | $7.97 | [6 empty] | 198634.73 | 2.7038 | 6067256.4 | 82.5859
Commodity:
Commodity:
BCPSS138 | Harriet Tubman Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 49678 |  | 98100 | 334717.2 | 222 | 12860.21 | $0.13 | [7 empty] | 4411 | 610923.5 | 12372.93 | $2.81 |  | 83.0391 |  | 6855.8 | $82.56 | [6 empty] | 32088.94 | 0.64594 | 945640.7 | 19.0354
Commodity:
Commodity:
BCPSS142 | Robert W. Coleman Elementary
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
|  | 46344 |  | 485000 | 1654820 | 1787 | 53599.98 | $0.11 | [7 empty] | 12528 | 1735128 | 34303.51 | $2.74 |  | 159.3453 |  | 23366.16 | $146.64 | [6 empty] | 111269.65 | 2.401 | 3389948 | 73.1475
Commodity:
Commodity:
BCPSS144 | James Mosher Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 72326 |  | 828600 | 2827183.2 | 1863 | 95561.02 | $0.12 |  | 325 |  | 32500 | 731.98 | $2.25 |  | 38925 | 5391112.5 | 105252.48 | $2.70 |  | 1986.9536 |  | 18825.67 | $9.47 | [6 empty] | 220371.15 | 3.0469 | 8250795.7 | 114.0779
Commodity:
Commodity:
Commodity:
BCPSS145 | Alexander Hamilton Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 56686 |  | 732200 | 2498266.4 | 1614 | 83695.44 | $0.11 |  | 16974 |  | 1697400 | 14269.85 | $0.84 | [6 empty] | 499.7308 |  | 6180.41 | $12.37 | [6 empty] | 104145.7 | 1.8372 | 4195666.4 | 74.0159
Commodity:
Commodity:
BCPSS150 | Bentalou Elementary
not found
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 77170 |  | 243280 | 830071.36 | 667 | 27137.2 | $0.11 |  | 105 |  | 10500 | 540.91 | $5.15 |  | 9440 | 1307440 | 25492.77 | $2.70 |  | 2469.4781 |  | 18574.25 | $7.52 | [6 empty] | 71745.13 | 0.9297 | 2148011.36 | 27.8348
Commodity:
Commodity:
Commodity:
BCPSS157 | George G. Kelson Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 71120 |  | 579800 | 1978277.6 | 1807 | 68252.37 | $0.12 |  | 27018 |  | 2701800 | 22658.9 | $0.84 | [6 empty] | 50.1227 |  | 10207.42 | $203.65 | [6 empty] | 101118.69 | 1.4218 | 4680077.6 | 65.8054
Commodity:
Commodity:
BCPSS159 | Cherry Hill Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 65298 |  | 336160 | 1146977.92 | 876 | 36930.11 | $0.11 |  | 45989 |  | 4598900 | 38244.53 | $0.83 | [6 empty] | 3436.7714 |  | 23001.3 | $6.69 | [6 empty] | 98175.94 | 1.5035 | 5745877.92 | 87.9947
Commodity:
Commodity:
BCPSS160-180 | Dr. Carter G. WoodsonElementary/Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 79500 |  | 1473900 | 5028946.8 | 4537 | 166230.21 | $0.11 |  | 10836 |  | 1083600 | 9257.63 | $0.85 | [6 empty] | 846.1011 |  | 6694.32 | $7.91 | [6 empty] | 182182.16 | 2.2916 | 6112546.8 | 76.8874
Commodity:
Commodity:
BCPSS163 | Patapsco Elementary/Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 80904 |  | 288640 | 984839.68 | 787 | 32016.43 | $0.11 |  | 63724 |  | 6372400 | 51348.85 | $0.81 | [6 empty] | 12.7177 |  | 1275.08 | $100.26 | [6 empty] | 84640.36 | 1.0462 | 7357239.68 | 90.9379
Commodity:
Commodity:
BCPSS164 | Arundel Elementary/Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 66589 |  | 282000 | 962184 | 832 | 33686.62 | $0.12 |  | 52860 |  | 5286000 | 55374.42 | $1.05 | [6 empty] | 658.328 |  | 5935.86 | $9.02 | [6 empty] | 94996.9 | 1.4266 | 6248184 | 93.8321
Commodity:
Commodity:
BCPSS175 | 775 HORTICULTURAL CENTER
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  |  |  | 41764 | 142498.768 | 0 | 5174.15 | $0.12 |  | 11704 |  | 1170400 | 10592.14 | $0.91 | [16 empty] | 15766.29 | #DIV/0!
Commodity:
BCPSS177 | George W. F. McMechen High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 94603 |  | 1123500 | 3833382 | 2664 | 117775.7 | $0.10 |  | 153 |  | 15300 | 542.48 | $3.55 |  | 41437 | 5739024.5 | 114562.76 | $2.76 |  | 186.2769 |  | 23587.73 | $126.63 | [6 empty] | 256468.67 | 2.711 | 9587706.5 | 101.3467
Commodity:
Commodity:
Commodity:
BCPSS178 | Francis M. Wood Alternative High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 69659 |  | 965700 | 3294968.4 | 2115 | 108218.11 | $0.11 |  | 2 |  | 200 | 386.68 | $193.34 |  | 21200 | 2936200 | 51029.9 | $2.41 |  | 6422.4385 |  | 42822.73 | $6.67 | [6 empty] | 202457.42 | 2.9064 | 6231368.4 | 89.4553
Commodity:
Commodity:
Commodity:
BCPSS181 | Southside Academy
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 172243 |  | 0 |  | 0 | 143.04 | $0.00 | [7 empty] | 112214 | 15541639 | 306253.96 | $2.73 |  | 3435.2752 |  | 22855.32 | $6.65 | [6 empty] | 329252.32 | 1.9116 | 15541639 | 90.2309
Commodity:
Commodity:
BCPSS201 | Dickey Hill Elementary/Middle (PreK-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 84552 |  | 357300 | 1219107.6 | 1092 | 39681.55 | $0.11 |  | 28898 |  | 2889800 | 24057.52 | $0.83 | [6 empty] | 3515.3219 |  | 23951.62 | $6.81 | [6 empty] | 87690.69 | 1.0371 | 4108907.6 | 48.5962
Commodity:
Commodity:
BCPSS202 | Lafayette Elementary/Empowerment
not found
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 79329 |  | 259520 | 885482.24 | 918 | 31224.61 | $0.12 |  | 1440 |  | 144000 | 1812.47 | $1.26 | [6 empty] | 394.2487 |  | 7022.23 | $17.81 | [6 empty] | 40059.31 | 0.50498 | 1029482.24 | 12.9774
Commodity:
Commodity:
BCPSS203 | Maree Garnett Farring Elementary | [13 empty] | Oil #2 | Unit:
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH
|  | 56707 |  | 735500 | 2509526 | 1883 | 78330.42 | $0.11 | [7 empty] | 5800 | 803300 | 15757.84 | $2.72 |  | 63.5885 |  | 841.82 | $13.24 | [6 empty] | 94930.08 | 1.674 | 3312826 | 58.4201
Commodity:
Commodity:
BCPSS204 | Mary E. Rodman Elementary
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 102434 |  | 286160 | 976377.92 | 742 | 33401.64 | $0.12 |  | 1861 |  | 186100 | 2208.92 | $1.19 |  | 22407 | 3103369.5 | 62328.93 | $2.78 | [11 empty] | 97939.49 | 0.95612 | 4265847.42 | 41.6448
Commodity:
Commodity:
BCPSS205 | Woodhome Elementary/Middle (K-8)
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 64027 |  | 807500 | 2755190 | 1836 | 85503.15 | $0.11 |  | 969 |  | 96900 | 1356.02 | $1.40 |  | 35106 | 4862181 | 96251.19 | $2.74 |  | 1247.8308 |  | 14842.71 | $11.89 | [6 empty] | 197953.07 | 3.0917 | 7714271 | 120.4847
Commodity:
Commodity:
Commodity:
BCPSS206 | Furley Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 77588 |  | 490800 | 1674609.6 | 1333 | 58083.83 | $0.12 |  | 30549 |  | 3054900 | 25530.22 | $0.84 | [6 empty] | 1387.7255 |  | 14589.81 | $10.51 | [6 empty] | 98203.86 | 1.2657 | 4729509.6 | 60.9567
Commodity:
Commodity:
BCPSS207 | Curtis Bay Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 69475 |  | 505260 | 1723947.12 | 1495 | 59689.91 | $0.12 |  | 25565 |  | 2556500 | 27659.1 | $1.08 | [6 empty] | 1826.8602 |  | 12692.57 | $6.95 | [6 empty] | 100041.58 | 1.44 | 4280447.12 | 61.6113
Commodity:
Commodity:
BCPSS209 | Winston Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 93195 |  | 412600 | 1407791.2 | 624 | 48670.45 | $0.12 |  | 24456 |  | 2445600 | 20323.71 | $0.83 | [6 empty] | 73.3138 |  | 6198 | $84.54 | [6 empty] | 75192.16 | 0.80683 | 3853391.2 | 41.3476
Commodity:
Commodity:
BCPSS210 | Hazelwood Elementary/Middle (K-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 65824 |  | 444590 | 1516941.08 | 1021 | 51447.66 | $0.12 |  | 49391 |  | 4939100 | 40494.2 | $0.82 | [6 empty] | 688.252 |  | 7358 | $10.69 | [6 empty] | 99299.86 | 1.5086 | 6456041.08 | 98.0804
Commodity:
Commodity:
BCPSS211 | Gardenville Elementary
[15 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH
|  | 41584 |  | 563600 | 1923003.2 | 1538 | 60698.24 | $0.11 | [7 empty] | 7060 | 977810 | 19360.85 | $2.74 |  | 609.7015 |  | 23457.58 | $38.47 | [6 empty] | 103516.67 | 2.4893 | 2900813.2 | 69.7579
Commodity:
Commodity:
BCPSS212 | Garrett Heights Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 65491 |  | 859200 | 2931590.4 | 2052 | 91235.21 | $0.11 |  | 30425 |  | 3042500 | 25236.19 | $0.83 | [6 empty] | 3041.0265 |  | 20873.64 | $6.86 | [6 empty] | 137345.04 | 2.0972 | 5974090.4 | 91.22
Commodity:
Commodity:
BCPSS213 | Govans Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 53970 |  | 410100 | 1399261.2 | 1095 | 45066.57 | $0.11 | [7 empty] | 11395 | 1578207.5 | 32129.63 | $2.82 |  | 507.9599 |  | 4006.56 | $7.89 | [6 empty] | 81202.76 | 1.5046 | 2977468.7 | 55.169
Commodity:
Commodity:
BCPSS214 | Guilford Elementary/Middle (K-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 65944 |  | 709200 | 2419790.4 | 2101 | 81634.13 | $0.12 |  | 25179 |  | 2517900 | 20848.27 | $0.83 | [6 empty] | 248.3692 |  | 10223.1 | $41.16 | [6 empty] | 112705.5 | 1.7091 | 4937690.4 | 74.877
Commodity:
Commodity:
BCPSS215 | Highlandtown Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 64632 |  | 958800 | 3271425.6 | 2091 | 100899.52 | $0.11 | [7 empty] | 37300 | 5166050 | 82335.26 | $2.21 |  | 3536.2687 |  | 25253.44 | $7.14 | [6 empty] | 208488.22 | 3.2258 | 8437475.6 | 130.5464
Commodity:
Commodity:
BCPSS216 | Frankford Elementary
not found
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
no water |  | 57887 |  | 246960 | 842627.52 | 709 | 27531.15 | $0.11 |  | 54547 |  | 5454700 | 57513.37 | $1.05 | [16 empty] | 85044.52 | 1.4691 | 6297327.52 | 108.7866
Commodity:
BCPSS217 | Belmont Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 69859 |  | 375600 | 1281547.2 | 1041 | 44834.56 | $0.12 |  | 1814 |  | 181400 | 2161.26 | $1.19 |  | 16971 | 2350483.5 | 46515.63 | $2.74 |  | 255.8502 |  | 13563.8 | $53.01 | [6 empty] | 107075.25 | 1.5327 | 3813430.7 | 54.5875
Commodity:
Commodity:
Commodity:
BCPSS218 | Howard Park Elementary
not found
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
|  | 52823 |  | 128800 | 439465.6 | 379 | 15947.43 | $0.12 | [12 empty] | 7592.4669 |  | 51822.21 | $6.83 | [6 empty] | 67769.64 | 1.283 | 439465.6 | 8.3196
Commodity:
BCPSS219 | Yorkwood Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 70371 |  | 282630 | 964333.56 | 739 | 37843.37 | $0.13 |  | 2437 |  | 243700 | 2379.4 | $0.98 |  | 25473 | 3528010.5 | 67209.8 | $2.64 |  | 352.3551 |  | 6198 | $17.59 | [6 empty] | 113630.57 | 1.6147 | 4736044.06 | 67.3011
Commodity:
Commodity:
Commodity:
BCPSS220 | Morrell Park Elementary/Middle (K-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 55210 |  | 541800 | 1848621.6 | 1467 | 63205.7 | $0.12 |  | 445 |  | 44500 | 774.54 | $1.74 |  | 4407 | 610369.5 | 11833.85 | $2.69 |  | 3551.9788 |  | 44736.29 | $12.59 | [6 empty] | 120550.38 | 2.1835 | 2503491.1 | 45.3449
Commodity:
Commodity:
Commodity:
BCPSS221 | Mt. Washington Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 46020 |  | 181200 | 618254.4 | 603 | 20785.25 | $0.11 |  | 1723 |  | 172300 | 1807.02 | $1.05 |  | 7010 | 970885 | 17198.97 | $2.45 |  | 294.7514 |  | 2129.36 | $7.22 | [6 empty] | 41920.6 | 0.91092 | 1761439.4 | 38.2755
Commodity:
Commodity:
Commodity:
BCPSS222 | Pimlico Middle(fire & Police Trng Aca) | [18 empty] | Water | Unit: | MGAL
only water | [20 empty] | 687.5039 |  | 24509.04 | $35.65 | [6 empty] | 24509.04 | #DIV/0!
Commodity:
BCPSS223 | Pimlico Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 109045 |  | 1080612 | 3687048.144 | 2331 | 113270.51 | $0.10 |  | 58263 |  | 5826300 | 63710.89 | $1.09 | [6 empty] | 1923.3651 |  | 23458.99 | $12.20 | [6 empty] | 200440.39 | 1.8381 | 9513348.144 | 87.2424
Commodity:
Commodity:
BCPSS224 | Grove Park Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 64711 |  | 495440 | 1690441.28 | 1191 | 57120.6 | $0.12 |  | 38903 |  | 3890300 | 41557.75 | $1.07 | [6 empty] | 1060.8058 |  | 14416.23 | $13.59 | [6 empty] | 113094.58 | 1.7477 | 5580741.28 | 86.241
Commodity:
Commodity:
BCPSS225 | Westport Academy (PreK-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 104555 |  | 1411800 | 4817061.6 | 2883 | 146372.5 | $0.10 |  | 40670 |  | 4067000 | 33609.24 | $0.83 | [6 empty] | 2355.7669 |  | 17879.11 | $7.59 | [6 empty] | 197860.85 | 1.8924 | 8884061.6 | 84.9702
Commodity:
Commodity:
BCPSS226 | Violetville Elementary/Middle (K-8)
Commodity: |  |  | Electric | Unit: | KWH
[9 empty] | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 84000 |  | 130986 | 446924.232 | 0 | 40775.27 | $0.31 |  | 2771 |  | 277100 | 2687.77 | $0.97 | [6 empty] | 386.0196 |  | 13349.06 | $34.58 | [6 empty] | 56812.1 | 0.67633 | 724024.232 | 8.6193
Commodity:
Commodity:
BCPSS227 | St. helena Elementary
only electric school not foundjacobs
Commodity: |  |  | Electric | Unit: | KWH
|  |  |  | 56500 | 192778 | 0 | 6424.41 | $0.11 | [22 empty] | 6424.41 | #DIV/0!
BCPSS228 | John Ruhrah Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 84715 |  | 1081500 | 3690078 | 2679 | 124671.2 | $0.12 |  | 1497 |  | 149700 | 1887.54 | $1.26 |  | 25231 | 3494493.5 | 70744.81 | $2.80 |  | 4090.6108 |  | 29027.74 | $7.10 | [6 empty] | 226331.29 | 2.6717 | 7334271.5 | 86.5758
Commodity:
Commodity:
Commodity:
BCPSS229 | Holabird Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 56207 |  | 618100 | 2108957.2 | 1595 | 68309.05 | $0.11 |  | 29837 |  | 2983700 | 32106.78 | $1.08 | [6 empty] | 421.1803 |  | 6263.44 | $14.87 | [6 empty] | 106679.27 | 1.898 | 5092657.2 | 90.6054
Commodity:
Commodity:
BCPSS230 | Canton Middle
no water
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 104040 |  | 1082500 | 3693490 | 2195 | 113163.97 | $0.10 |  | 3750 |  | 375000 | 3457.63 | $0.92 |  | 21228 | 2940078 | 58274.26 | $2.75 | [11 empty] | 174895.86 | 1.681 | 7008568 | 67.3642
Commodity:
Commodity:
BCPSS231 | Brehms Lane Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 67078 |  | 613447 | 2093081.164 | 1445 | 71140 | $0.12 |  | 26634 |  | 2663400 | 22193.48 | $0.83 | [6 empty] | 1581.4834 |  | 11442.4 | $7.24 | [6 empty] | 104775.88 | 1.562 | 4756481.164 | 70.9097
Commodity:
Commodity:
BCPSS232 | Thomas Jefferson Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 134226 |  | 590400 | 2014444.8 | 992 | 67327.7 | $0.11 |  | 31148 |  | 3114800 | 25856.99 | $0.83 | [6 empty] | 959.0642 |  | 13655.47 | $14.24 | [6 empty] | 106840.16 | 0.79597 | 5129244.8 | 38.2135
Commodity:
Commodity:
BCPSS233 | Roland Park Elementary/Middle(K-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 175538 |  | 960000 | 3275520 | 2760 | 110328.4 | $0.11 |  | 986 |  | 98600 | 1370.25 | $1.39 |  | 42000 | 5817000 | 113084.82 | $2.69 |  | 2734.3055 |  | 17732.7 | $6.49 | [6 empty] | 242516.17 | 1.3816 | 9191120 | 52.3597
Commodity:
Commodity:
Commodity:
BCPSS234 | Arlington Elementary
no water
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 111893 |  | 940852 | 3210187.024 | 2258 | 101674.01 | $0.11 |  | 44562 |  | 4456200 | 36858.13 | $0.83 | [16 empty] | 138532.14 | 1.2381 | 7666387.024 | 68.5153
Commodity:
BCPSS235 | Glenmount Elementary/Middle (K-8)
no water
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 68113 |  | 879200 | 2999830.4 | 2234 | 93830.43 | $0.11 |  | 42805 |  | 4280500 | 35034.57 | $0.82 | [16 empty] | 128865 | 1.8919 | 7280330.4 | 106.8861
Commodity:
BCPSS236 | Hamilton Elementary/Middle(K-8)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 81510 |  | 839800 | 2865397.6 | 2042 | 99809.28 | $0.12 |  | 47190 |  | 4719000 | 50216.64 | $1.06 | [6 empty] | 5123.7369 |  | 35297.13 | $6.89 | [6 empty] | 185323.05 | 2.2736 | 7584397.6 | 93.0487
Commodity:
Commodity:
BCPSS237 | Highlandtown Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 73196 |  | 921700 | 3144840.4 | 2245 | 97591.79 | $0.11 |  | 18995 |  | 1899500 | 16027.14 | $0.84 | [16 empty] | 113618.93 | 1.5523 | 5044340.4 | 68.9155
Commodity:
BCPSS239 | Benjamin Franklin Jr. High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 106893 |  | 718200 | 2450498.4 | 1244 | 75114.07 | $0.10 |  | 55721 |  | 5572100 | 45653.11 | $0.82 | [6 empty] | 659.8242 |  | 4528.61 | $6.86 | [6 empty] | 125295.79 | 1.1722 | 8022598.4 | 75.0526
Commodity:
Commodity:
BCPSS240 | Graceland Park at ODonnell Hgts. El
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 74081 |  | 550800 | 1879329.6 | 1063 | 63366.64 | $0.12 |  | 4334 |  | 433400 | 3883.12 | $0.90 |  | 43985 | 6091922.5 | 112077.93 | $2.55 |  | 273.8046 |  | 13607.01 | $49.70 | [6 empty] | 192934.7 | 2.6044 | 8404652.1 | 113.4522
Commodity:
Commodity:
Commodity:
BCPSS241 | Fallstaff Middle
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit:
|  | 75902 |  | 651360 | 2222440.32 | 1600 | 69471.87 | $0.11 |  | 2415 |  | 241500 | 2369.25 | $0.98 |  | 37970 | 5258845 | 102748.37 | $2.71 | [11 empty] | 174589.49 | 2.3002 | 7722785.32 | 101.7468
Commodity:
Commodity:
BCPSS242 | Northwood Elementary
[20 empty] | Water | Unit: | MGAL
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 98066 |  | 561140 | 1914609.68 | 1768 | 65084.49 | $0.12 |  | 66328 |  | 6632800 | 52895.47 | $0.80 | [6 empty] | 1226.884 |  | 18033.38 | $14.70 | [6 empty] | 136013.34 | 1.387 | 8547409.68 | 87.1598
Commodity:
Commodity:
BCPSS243 | Armistead Gardens Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 62229 |  | 728800 | 2486665.6 | 2055 | 84455.56 | $0.12 |  | 20133 |  | 2013300 | 16837.81 | $0.84 | [6 empty] | 1313.6636 |  | 23428.6 | $17.83 | [6 empty] | 124721.97 | 2.0042 | 4499965.6 | 72.313
Commodity:
Commodity:
BCPSS245 | Leith Walk Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 86813 |  | 459060 | 1566312.72 | 1018 | 54967.77 | $0.12 |  | 39507 |  | 3950700 | 32494.72 | $0.82 | [6 empty] | 377.7905 |  | 4621.77 | $12.23 | [6 empty] | 92084.26 | 1.0607 | 5517012.72 | 63.5505
Commodity:
Commodity:
BCPSS246 | Beechfield Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 94608 |  | 843400 | 2877680.8 | 2415 | 92136.38 | $0.11 |  | 8590 |  | 859000 | 8366.34 | $0.97 | [6 empty] | 2430.5769 |  | 16827.2 | $6.92 | [6 empty] | 117329.92 | 1.2402 | 3736680.8 | 39.4965
Commodity:
Commodity:
BCPSS247 | Cross Country Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 69718 |  | 560700 | 1913108.4 | 1627 | 60683.85 | $0.11 |  | 39729 |  | 3972900 | 42033.6 | $1.06 | [6 empty] | 537.8839 |  | 6206.05 | $11.54 | [6 empty] | 108923.5 | 1.5623 | 5886008.4 | 84.426
Commodity:
Commodity:
BCPSS248 | Sinclair Lane Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 74808 |  | 201360 | 687040.32 | 481 | 23592.17 | $0.12 |  | 61048 |  | 6104800 | 49131.57 | $0.80 | [6 empty] | 763.062 |  | 6951.43 | $9.11 | [6 empty] | 79675.17 | 1.0651 | 6791840.32 | 90.7903
Commodity:
Commodity:
BCPSS249 | Medfield Heights Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 40644 |  | 315100 | 1075121.2 | 907 | 37251.78 | $0.12 |  | 36194 |  | 3619400 | 38445.32 | $1.06 | [6 empty] | 296.2476 |  | 6203.68 | $20.94 | [6 empty] | 81900.78 | 2.0151 | 4694521.2 | 115.5034
Commodity:
Commodity:
BCPSS250 | Dr. Bernard Harris Sr.Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 78220 |  | 1026700 | 3503100.4 | 2833 | 117653.41 | $0.11 |  | 60011 |  | 6001100 | 48698.01 | $0.81 | [6 empty] | 5881.5622 |  | 38960.43 | $6.62 | [6 empty] | 205311.85 | 2.6248 | 9504200.4 | 121.506
Commodity:
Commodity:
BCPSS251 | Callaway Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 74468 |  | 543300 | 1853739.6 | 1461 | 58394.22 | $0.11 |  | 38563 |  | 3856300 | 31768.8 | $0.82 | [6 empty] | 344.8741 |  | 10334.72 | $29.97 | [6 empty] | 100497.74 | 1.3495 | 5710039.6 | 76.6778
Commodity:
Commodity:
BCPSS254 | Dr. Martin Luther King Jr. Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 98444 |  | 656100 | 2238613.2 | 1356 | 76968.2 | $0.12 |  | 203559 |  | 20355900 | 156192.31 | $0.77 | [6 empty] | 2313.8733 |  | 23878.78 | $10.32 | [6 empty] | 257039.29 | 2.611 | 22594513.2 | 229.5164
Commodity:
Commodity:
BCPSS255 | Southeast Middle
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 95681 |  | 1585800 | 5410749.6 | 3687 | 166440.91 | $0.10 | [7 empty] | 17420 | 2412670 | 47151.39 | $2.71 |  | 2163.5052 |  | 15161.62 | $7.01 | [6 empty] | 228753.92 | 2.3908 | 7823419.6 | 81.7657
Commodity:
Commodity:
BCPSS256 | Calvin Rodwell Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit:
|  | 38735 |  | 343500 | 1172022 | 1159 | 38146.54 | $0.11 | [7 empty] | 4404 | 609954 | 11825.52 | $2.69 | [11 empty] | 49972.06 | 1.2901 | 1781976 | 46.0043
Commodity:
BCPSS260 | Frederick Elementary
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 46844 |  | 510100 | 1740461.2 | 1511 | 59380.21 | $0.12 |  | 27246 |  | 2724600 | 22436.14 | $0.82 | [6 empty] | 2737.2979 |  | 26965.27 | $9.85 | [6 empty] | 108781.62 | 2.3222 | 4465061.2 | 95.3177
Commodity:
Commodity:
BCPSS261 | Lockerman-Bundy Elementary
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 50625 |  | 644700 | 2199716.4 | 1978 | 69983.65 | $0.11 | [7 empty] | 8910 | 1234035 | 26470.72 | $2.97 |  | 732.3899 |  | 13570.92 | $18.53 | [6 empty] | 110025.29 | 2.1733 | 3433751.4 | 67.8272
Commodity:
Commodity:
BCPSS301 | William S. Baer School (K-12)
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 93947 |  | 463200 | 1580438.4 | 1473 | 55685.2 | $0.12 |  | 113688 |  | 11368800 | 87814.63 | $0.77 | [6 empty] | 1263.5409 |  | 23366.16 | $18.49 | [6 empty] | 166865.99 | 1.7762 | 12949238.4 | 137.8356
Commodity:
Commodity:
BCPSS303 | Upton School
Commodity: |  |  | Water | Unit: | MGAL
|  |  |  | 0 |  |  | 1273.94 | $0.00 | [22 empty] | 1273.94
BCPSS307 | Claremont School
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 17877 |  | 154360 | 526676.32 | 0 | 17132.33 | $0.11 |  | 10486 |  | 1048600 | 11372.82 | $1.08 | [6 empty] | 344.126 |  | 4886.54 | $14.20 | [6 empty] | 33391.69 | 1.8679 | 1575276.32 | 88.1175
Commodity:
Commodity:
BCPSS313 | Lois T. Murray Elementary
[15 empty] | Oil #2 | Unit:
Commodity: |  |  | Electric | Unit: | KWH | [14 empty] | Water | Unit: | MGAL
|  | 20503 |  | 379200 | 1293830.4 | 930 | 40894.28 | $0.11 | [7 empty] | 4185 | 579622.5 | 11237.71 | $2.69 |  | 448.1119 |  | 23435.73 | $52.30 | [6 empty] | 75567.72 | 3.6857 | 1873452.9 | 91.3746
Commodity:
Commodity:
BCPSS314 | Sharp-Leadenhall Elementary (1-5)
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 20500 |  | 533200 | 1819278.4 | 1131 | 56653.58 | $0.11 | [7 empty] | 8834 | 1223509 | 24706.89 | $2.80 |  | 289.5147 |  | 17613.22 | $60.84 | [6 empty] | 98973.69 | 4.828
Commodity:
Commodity:
BCPSS315-TRANSFERED | Dr. Lillie M. Jackson Spl Ed
Commodity: | [19 empty] | Water | Unit: | MGAL
water only | [20 empty] | 7.481 |  | 256.33 | $34.26 | [6 empty] | 256.33
BCPSS328 | Southwest Baltimore Charter School
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 74634 |  | 608600 | 2076543.2 | 1632 | 70219.38 | $0.12 |  | 1908 |  | 190800 | 1998.69 | $1.05 |  | 19855 | 2749917.5 | 55355.32 | $2.79 |  | 6279.5514 |  | 41618.92 | $6.63 | [6 empty] | 169192.31 | 2.267 | 5017260.7 | 67.2249
Commodity:
Commodity:
Commodity:
BCPSS346 | City Neighbors Hamilton-Old SS #41
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 150327 |  | 423360 | 1444504.32 | 912 | 48101.39 | $0.11 |  | 77084 |  | 7708400 | 60803.27 | $0.79 | [6 empty] | 539.3801 |  | 9829.8 | $18.22 | [6 empty] | 118734.46 | 0.78984 | 9152904.32 | 60.8866
Commodity:
Commodity:
BCPSS348 | Balti Leadership Sch for Young Women
not found
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 23262 |  | 403800 | 1377765.6 | 837 | 43176.95 | $0.11 |  | 22162 |  | 2216200 | 18317.05 | $0.83 | [16 empty] | 61494 | 2.6435 | 3593965.6 | 154.4994
Commodity:
BCPSS400 | Edmondson-Westside Senior High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 191365 |  | 859359 | 2932132.908 | 2094 | 90989.7 | $0.11 |  | 181282 |  | 18128200 | 159064.53 | $0.88 | [6 empty] | 2722.3359 |  | 23599.68 | $8.67 | [6 empty] | 273653.91 | 1.43 | 21060332.908 | 110.0532
Commodity:
Commodity:
BCPSS401 | Northwestern High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 333415 |  | 1568400 | 5351380.8 | 3813 | 150551.31 | $0.10 |  | 8245 |  | 824500 | 6951.58 | $0.84 |  | 90129 | 12482866.5 | 229056.64 | $2.54 |  | 3269.197 |  | 25748.61 | $7.88 | [6 empty] | 412308.14 | 1.23 | 18658747.3 | 55.9625
Commodity:
Commodity:
Commodity:
BCPSS403/403-407 | Baltimore Polytechnic Institute
twice energy data sqft
Commodity: | [14 empty] | Oil #2 | Unit:
|  | 418696 | [13 empty] | 131431 | 18203193.5 | 355623.67 | $2.71 | [11 empty] | 355623.67 | 0.84936 | 18203193.5 | 43.4759
BCPSS405 | Patterson High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 310805 |  | 1914480 | 6532205.76 | 5071 | 183062.75 | $0.10 |  | 485 |  | 48500 | 898.34 | $1.85 |  | 77157 | 10686244.5 | 210242.43 | $2.72 |  | 3688.8811 |  | 38422.37 | $10.42 | [6 empty] | 432625.89 | 1.392 | 17266950.26 | 55.5556
Commodity:
Commodity:
Commodity:
BCPSS406 | Forest Park High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 186735 |  | 1451520 | 4952586.24 | 3571 | 151776.67 | $0.10 |  | 82701 |  | 8270100 | 65497.48 | $0.79 | [6 empty] | 1431.1153 |  | 11434.41 | $7.99 | [6 empty] | 228708.56 | 1.2248 | 13222686.24 | 70.8099
Commodity:
Commodity:
BCPSS407 | Western High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 241722 |  | 3573000 | 12191076 | 8428 | 332331.75 | $0.09 |  | 1631 |  | 163100 | 1718.16 | $1.05 | [6 empty] | 32630.6258 |  | 219293.88 | $6.72 | [6 empty] | 553343.79 |  | 12354176 | 51.109
Commodity:
Commodity:
BCPSS410 | Mergenthaler Vo-Technical High School
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL
|  | 405164 |  | 3658800 | 12483825.6 | 7995 | 336650.05 | $0.09 |  | 171398 |  | 17139800 | 133177.62 | $0.78 | [6 empty] | 1603.9264 |  | 23688.73 | $14.77 | [6 empty] | 493516.4 | 1.2181 | 29623625.6 | 73.1151
Commodity:
Commodity:
BCPSS411 | Walbrook High Uniform Services. Academy
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | [9 empty] | Water | Unit: | MGAL
|  | 258850 |  | 4197200 | 14320846.4 | 10197 | 393689.45 | $0.09 |  | 100152 |  | 10015200 | 77590.44 | $0.77 | [6 empty] | 0 |  | 194.95 | $0.00 | [6 empty] | 471474.84 | 1.8214 | 24336046.4 | 94.016
Commodity:
Commodity:
BCPSS414/414AF | Paul Laurence Dunbar High
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL |  |  | Steam | Unit: | MLB
|  | 300298 |  | 4386158 | 14965571.096 | 9313 | 404704.98 | $0.09 |  | 963 |  | 96300 | 1386.32 | $1.44 | [6 empty] | 749.5962 |  | 10944.41 | $14.60 |  | 8965.4 |  | 55000000 | 167623.14 | $18.70 | 584658.85 | 1.9469 | 70061871.096 | 233.3078
Commodity:
Commodity:
Commodity:
BCPSS415 | Baltimore School for the Arts
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 157596 |  | 636700 | 2172420.4 | 1704 | 74820.43 | $0.12 |  | 2343 |  | 234300 | 2656.01 | $1.13 |  | 35500 | 4916750 | 96566.34 | $2.72 |  | 334.4007 |  | 13545.26 | $40.51 | [6 empty] | 187588.04 | 1.1903 | 7323470.4 | 46.4699
Commodity:
Commodity:
Commodity:
BCPSS418-419 | Northern Senior ()
not found in jacobs
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
|  | 362402 |  | 1354800 | 4622577.6 | 3641 | 132287.64 | $0.10 |  | 2164 |  | 216400 | 2661.14 | $1.23 |  | 77330 | 10710205 | 208630.06 | $2.70 |  | 10184.6334 |  | 67297.3 | $6.61 | [6 empty] | 410876.14 |  | 15549182.6
Commodity:
Commodity:
Commodity:
BCPSS420 | Dr. Samuel L. Banks High School
not found in jacobs
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM
|  | 298325 |  | 1902600 | 6491671.2 | 4341 | 181624.62 | $0.10 |  | 57726 |  | 5772600 | 46840.75 | $0.81 | [16 empty] | 228465.37 | 0.76583 | 12264271.2 | 41.1104
Commodity:
BCPSS423 | Baltimore Freedom Academy
not found in jacobs | [14 empty] | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL
Commodity: | [15 empty] | 4407 | 610369.5 | 12213.84 | $2.77 |  | 5728.2017 |  | 41221.94 | $7.20 | [6 empty] | 53435.78 |  | 610369.5
0
0
0
Commodity: | [30 empty] | 0
0
BCPSS450 | Frederick Douglass High | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL | [8 empty] | 0
big change |  | 194249 |  | 1362400 | 4648508.8 | 3245 | 142912.39 | $0.10 |  | 154135 |  | 15413500 | 163193.14 | $1.06 | [6 empty] | 3529.5358 |  | 25116.33 | $7.12 | [6 empty] | 331221.86 | 1.7051 | 20062008.8 | 103.2799
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS451 | Central Career Academy at Briscoe | [29 empty] | 0
oil only not found jacobs | [30 empty] | 0
Commodity: | [14 empty] | Oil #2 | Unit: | [14 empty] | 0
|  | 93632 | [13 empty] | 700 | 96950 | 1645.33 | $2.35 | [11 empty] | 1645.33 | 0.017572 | 96950 | 1.0354
0
0
BCPSS454 | Carver Vocational-Technical High | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: | [14 empty] | 0
|  | 255845 |  | 2271600 | 7750699.2 | 5337 | 221068.02 | $0.10 |  | 6528 |  | 652800 | 5685.14 | $0.87 |  | 49112 | 6802012 | 126766.87 | $2.58 | [11 empty] | 353520.03 | 1.3818 | 15205511.2 | 59.4325
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS456 | Fairmont/Harford Inst.(Spec Ctr) | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [8 empty] | Water | Unit: | MGAL | [8 empty] | 0
|  | 159587 |  | 867400 | 2959568.8 | 1933 | 97420.03 | $0.11 |  | 97883 |  | 9788300 | 75431.08 | $0.77 | [6 empty] | 671.0457 |  | 5508.96 | $8.21 | [6 empty] | 178360.07 |  | 12747868.8
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
0
0
0
BCPSS457 | Laurence G. Paquin Middle/High | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL | [8 empty] | 0
|  | 65666 |  | 496200 | 1693034.4 | 1533 | 58909.76 | $0.12 |  | 0 |  | 0 | 420 | $0.00 |  | 11276 | 1561726 | 28456 | $2.52 |  | 6389.5221 |  | 42081.46 | $6.59 | [6 empty] | 129867.22 | 1.9777 | 3254760.4 | 49.5654
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS480 | Baltimore City College High | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL | [8 empty] | 0
|  | 290089 |  | 2190600 | 7474327.2 | 3681 | 245102.4 | $0.11 |  | 1064 |  | 106400 | 1446.05 | $1.36 |  | 142121 | 19683758.5 | 383633.25 | $2.70 |  | 12794.0062 |  | 89615.89 | $7.00 | [6 empty] | 719797.59 | 2.4813 | 27264485.7 | 93.9866
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS504 | Maintaenance repair Shop | [29 empty] | 0
not found jacobs | [30 empty] | 0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: | [14 empty] | 0
|  |  |  | 249600 | 851635.2 | 805 | 30098.27 | $0.12 |  | 1623 |  | 162300 | 1931.92 | $1.19 |  | 12520 | 1734020 | 35441.28 | $2.83 | [11 empty] | 67471.47 |  | 2747955.2
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS526 | TRANSPORTATION BLDG | [29 empty] | 0
not found jacobs | [30 empty] | 0
Commodity: |  |  | Electric | Unit: | KWH | [9 empty] | Oil #2 | Unit: | [14 empty] | 0
|  |  |  | 310300 | 1058743.6 | 802 | 34051.55 | $0.11 | [7 empty] | 16447 | 2277909.5 | 44874.95 | $2.73 | [11 empty] | 78926.5
Commodity: | [30 empty] | 0
0
BCPSS534 | Warehouse-sold to HABC-may be in 2010 | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | [26 empty] | 0
[7 empty] | 2374.7 | [23 empty] | 2374.7
BCPSS540 | School Headquarters | [29 empty] | 0
not found jacobs | [30 empty] | 0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | unit: | [9 empty] | Water | Unit: | MGAL | [8 empty] | 0
|  | 500000 |  | 4515678 | 15407493.336 | 9342 | 491642.92 | $0.11 |  | 67079 |  | 6707900 | 55076.43 | $0.82 | [6 empty] | 6851.0998 |  | 45311.92 | $6.61 | [6 empty] | 592031.27 | 1.1841 | 22115393.336 | 44.2308
Commodity: |  |  |  |  | THERM | [25 empty] | 0
0
Commodity: | [30 empty] | 0
0
BCPSS556 | GROUND SHOP | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM |  |  |  | Oil #2 | Unit: |  |  |  | Water | Unit: | MGAL | [8 empty] | 0
|  |  |  | 125500 | 428206 | 613 | 16118.41 | $0.13 |  | 19250 |  | 1925000 | 15982.15 | $0.83 |  | 5618 | 778093 | 15515.26 | $2.76 |  | 1452.8102 |  | 9855.82 | $6.78 | [6 empty] | 57471.64
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
Commodity: | [30 empty] | 0
0
0
0
0
BCPSS557 | OPERATION BLDG | [29 empty] | 0
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [19 empty] | 0
|  |  |  | 354220 | 1208598.64 | 0 | 39501.14 | $0.11 |  | 21489 |  | 2148900 | 20202.46 | $0.94 | [16 empty] | 59703.6
Commodity: | [30 empty] | 0
0
BCPSS564 | R 1643 BRADDISH AV | [29 empty] | 0
only water | [30 empty] | 0
Commodity: | [19 empty] | Water | Unit: | MGAL | [8 empty] | 0
[21 empty] | 227.4224 |  | 1928.96 | $8.48 | [6 empty] | 1928.96
BCPSS761 | Warehouse 15 | [21 empty] | 3116827.78 | [7 empty] | 3116827.78
0
Commodity: |  |  | Electric | Unit: | KWH |  |  |  | Natural Gas | Unit: | THERM | [5 empty] | oil therms | [13 empty] | 0
|  |  |  | 358640 | 1223679.68 | 1256 | 42855.13 | $0.12 |  | 1256 |  | 125600 | 1628.49 | $1.30 | [16 empty] | 44483.62
Commodity: | totals |  |  | 146020489 | 498221908.468 | 351331 | 15540526.6 |  |  | 5229176 |  | 522917600 | 4636630.17 |  |  |  | 299073853 | [13 empty] | 20177156.77
0
WS_UNK_GRP_01(Summary 52 water accounts) | [30 empty] | 0
[20 empty] | Water | Unit: | MGAL | [8 empty] | 0
Commodity: | [20 empty] | 41187.3936 |  | 481535.71 | $11.69 | [6 empty] | 481535.71
0
0
0
Note on AR1515: Shan: