Food Service Checklist

Name:

School:

Room or Area: 		Date Completed:

Signature:

Instructions

1.	Read the IAQ 
Backgrounder and 
the Background 
Information for 
this checklist.

2.	Keep the 
Background 
Information and 
make a copy of 
the checklist for 
future reference.

3.	Complete the 
Checklist.

•	Check the “yes,” 
“no,” or 
“not applicable” 
box beside each 
item. (A “no” 
response 
requires further 
attention.)

•	Make comments 
in the “Notes” 
section as 
necessary.

4.	Return the checklist 
portion of this 
document to the 
IAQ Coordinator.

1 of 2

1. COOKING AREA # Yes No N/A 1a. Determined that local exhaust fans operate properly (note if fans are excessively noisy)    1b. Checked for odors near cooking, preparation, and eating areas    1c. Ensured that exhaust fans are used whenever cooking, washing dishes, and cleaning    1d. Determined that gas appliances function properly    1e. Verified that gas appliances are vented outdoors    1f. Ensured there are no combustion gas or natural gas odors, leaks, back-drafting, or headaches when gas appliances are used    1g. Ensured that kitchen is clean after use    1h. Determined there are no signs of microbiological growth in the kitchen, including the upper walls and ceiling (for example, mold, slime, and algae)    1i. Selected biocides registered by EPA (if required), followed the manufacturer’s directions for use, and carefully reviewed the method of application    1j. Verified the kitchen is free of plumbing and ceiling leaks (signs include stains, discoloration, and damp areas)    2. FOOD HANDLING AND STORAGE 2a. Checked food preparation, cooking, and storage areas for signs of insects and vermin (for example, feces or remains)    2b. Stored leftovers in well-sealed containers with no traces of food on outside surfaces    2c. Ensured that food preparation, cooking, and storage practices are sanitary    2d. Disposed of food scraps properly and removed crumbs    2e. Wiped counters clean with soap and water or a disinfectant (according to school policy)    2f. Swept and wet mopped floors    3. WASTE MANAGEMENT 3a. Selected and placed waste in appropriate containers    3b. Ensured that containers’ lids are securely closed    3c. Separated food waste and food-contaminated items from other wastes, if possible    3d. Stored waste containers in a well-ventilated area    3e. Ensured that dumpsters are properly located (away from air intake vents, operable windows, and food service doors)   

DELIVERIES

## Yes	No	N/A

4a.	Instructed vendors to avoid idling their engines during deliveries			

4b.	Posted a sign prohibiting vehicles from idling their engines in 
receiving areas			

4c.	Ensured that doors or air barriers are closed between receiving area 
and kitchen			

Notes

2 of 2