Health Officer/School Nurse Checklist

Name:

School:

Room or Area: 		Date Completed:

Signature:

Instructions

1.  Read the IAQ 
Backgrounder and 
the Background 
Information for 
this checklist.

2.  Keep the 
Background 
Information and 
make a copy of 
the checklist for 
future reference.

3.  Complete the 
Checklist.

•	Check the “yes,” 
“no,” or 
“not applicable” 
box beside each 
item. (A “no” 
response 
requires further 
attention.)

•	Make comments 
in the “Notes” 
section as 
necessary.

4.  Return the checklist 
portion of this 
document to the 
IAQ Coordinator.

1 of 2

1. MAINTAINING STUDENT HEALTH ## Yes No N/A 1a. Completed health records for each student    1b. Updated health records, as appropriate    1c. Obtained necessary information about student allergies and other health factors    1d. Developed a system to log health complaints (note symptoms, location and time of symptom onset, and exposure to pollutant sources)    1e. Monitored trends in health complaints (especially in timing or location of complaints)    1f. Investigated potential causes of health complaints (for example, school was renovated or refurnished recently; individual recently started working with new or different materials or equipment; new practices or products, such as cleaners or pesticides, were introduced into the school)    1g. Ensured that the school prohibits smoking    1h. Noted any new warm-blooded animals introduced into classrooms    1i. Reviewed and understood indicators of IAQ-related problems    2. HEALTH, IAQ, AND HYGIENE EDUCATION 2a. Educated students and staff about the importance of good hygiene    2b. Arranged individual instruction/counseling where necessary    2c. Developed information and education programs for parents and staff    2d. Established an information and counseling program for smokers    2e. Provided literature on smoking and secondhand smoke    2f. Educated school staff, students, and parents on the link between IAQ and health    3. HEALTH OFFICER’S OFFICE 3a. Ensured the ventilation system operates properly and supplies adequate quantities of outdoor air (i.e., at least 25 cubic feet per minute of outdoor air per occupant)    3b. Ensured that air filters are clean and properly installed    3c. Ensured that air supply pathways are clear of any obstructions    3d. Determined that air removed from the health office is separated from the ventilation system to avoid affecting other occupied areas of the school   

NOTES

2 of 2