Renovation & Repair Checklist

Name:

School:

Room or Area: 		Date Completed:

Signature:

Instructions

1.  Read the IAQ 
Backgrounder and 
the Background 
Information for 
this checklist.

2.  Keep the 
Background 
Information and 
make a copy of 
the checklist for 
future reference.

3.  Complete the 
Checklist.

•	Check the “yes,” 
“no,” or 
“not applicable” 
box beside each 
item. (A “no” 
response 
requires further 
attention.)

•	Make comments 
in the “Notes” 
section as 
necessary.

4.  Return the checklist 
portion of this 
document to the 
IAQ Coordinator.

1. GENERAL ACTIVITIES 1 of 2 PRE-RENOVATION Yes No N/A 1a. Notified staff, students, and parents of impending renovations and repairs    1b. Consulted school’s asbestos (AHERA) survey, if available    1c. Tested original paint for lead before removing it    1d. Consulted an asbestos professional before starting projects that may disturb asbestos    1e. Planned isolation strategy (from pollutants generated during renovations and repairs) for: • Students and staff    • Non-work areas of building    • Ventilation system    1f. Arranged for increased housekeeping during renovations and repairs    1g. Selected products and materials with minimal off-gassing    1h. Included IAQ-related specifications in construction contracts    1i. Evaluated work area for signs of mold before starting renovations or repairs    1j. Scheduled pollutant-producing activities during unoccupied periods    RENOVATION 1k. Updated school occupants and parents on progress of longer projects    1l. Avoided exposure to mold and bacteria (for example, with protective clothing or close-out procedures)    1m. Determined that housekeeping activities are sufficient to control dirt and dust    1n. Verified that work met contract specifications    CLOSE-OUT 1o. Allowed time for off-gassing before space is occupied    1p. Cleaned surfaces with wet-wiping and vacuuming (high efficiency vacuuming for fine or potentially toxic dusts such as lead, asbestos, or mold)    1q. Cleaned building system components as needed    1r. Changed ventilation system filters    1s. Balanced and tested HVAC system (if the HVAC systems or rooms served by it were modified)    1t. Followed EPA National Emission Standards for Hazardous Air Pollutants rules for disposal of materials that contained asbestos   

2.	PAINTING

## PRE-RENOVATION	Yes	No	N/A

2a.	Confirmed that the painted surface is lead-free			

2b. 	Selected a low-VOC emitting paint that is free of lead, mercury, and
formaldehyde			

2c. 	Scheduled painting during unoccupied periods			

RENOVATION

2d. 	Minimized occupant exposure to odors and contaminants			

2e. 	Used exhaust and supply ventilation to sweep fumes out of building			

2f. 	Blocked ventilation return openings			

2g. 	Used proper storage and disposal practices for paints, solvents, 
and supplies			

CLOSE-OUT

2h. 	Allowed paint odors to dissipate before occupants returned			

2i. 	Used supply and exhaust fans to sweep fumes out of the building			

2j. 	Used appropriate storage and disposal practices for paints, solvents, 
and clean-up materials			

2k. 	Disposed of old paints containing lead or mercury appropriately			

3.	FLOORING

PRE-RENOVATION

3a.	Ensured that flooring is free of asbestos fibers			

3b.	Selected low-emitting adhesives and flooring materials			

3c.	Obtained information about product constituents and emissions			

3d.	Avoided installing carpet near water sources			

3e.	Scheduled installation during unoccupied periods			

3f.	Aired out (off-gassed) new products before installation			

RENOVATION

3g.	Followed manufacturers’ recommendations for ventilating the work area			

3h.	Avoided recirculating air from the installation area			

3i.	Sealed return air grilles, opened doorways, and used exhaust fans to 
remove airborne contaminants			

3j.	Vacuumed old carpet (before removal)			

3k.	Vacuumed subfloor surfaces (after carpet removal)			

3l.	Sealed joints of hard surfaces and/or entire surface of porous flooring 
installed near water sources			

CLOSE-OUT

3m.	Vacuumed new flooring after installation			

3n.	Followed manufacturers’ recommendations for ventilating the work area 
space (typical recommendation: allow maximum outdoor air into work 
area for 72 hours after installation)			

4.	ROOFING

PRE-RENOVATION

4a. 	Scheduled pollutant-producing activities during unoccupied periods			

RENOVATION

4b.	Placed “hot pots” of tar away from outdoor air intakes			

4c.	Modified ventilation to avoid introducing odors and contaminants into 
building (for example, closed rooftop ventilation units in vicinity of work 
area and instructed staff and students to keep doors and windows closed)			

2 of 3

NOTES

3 of 3