Administrative Staff Checklist

Name:

School:

Room or Area: 		Date Completed:

Signature:

Instructions

1.  Read the IAQ 
Backgrounder and 
the Background 
Information for 
this checklist.

2.  Keep the 
Background 
Information and 
make a copy of 
the checklist for 
future reference.

3.  Complete the 
Checklist.

•	Check the “yes,” 
“no,” or 
“not applicable” 
box beside each 
item. (A “no” 
response 
requires further 
attention.)

•	Make comments 
in the “Notes” 
section as 
necessary.

4.  Return the checklist 
portion of this 
document to the 
IAQ Coordinator.

1. GENERAL CLEANLINESS ## Yes No N/A 1a. Ensured that offices are dusted and vacuumed regularly    1b. Ensured that trash is removed daily    1c. Ensured that no food is stored in the office overnight    1d. Ensured that the room is free of pests and vermin    1e. Used unscented, school-approved cleaners and air fresheners, if any, in rooms    2. EXCESS MOISTURE IN OFFICES 2a. Ensured that condensate is wiped from windows, windowsills, and window frames    2b. Ensured that cold water pipes are free of condensate    2c. Checked that indoor surfaces of exterior walls are free of condensate    2d. Checked that areas around and under sinks are free of leaks    2e. Ensured that lavatories are free of leaks    2f. Checked ceiling tiles and walls for leaks (discoloration may indicate periodic leaks)    2g. Ensured that spills are cleaned promptly    3. THERMAL COMFORT 3a. Ensured moderate temperature (should generally be 72°F–76°F)    3b. Ensure that there are no signs of draftiness    3c. Maintained humidity at acceptable levels (between 30 and 60 percent)    4. VENTILATION 4a. Located unit ventilator    4b. Located air supply and return vents    4c. Ensured that air is flowing from supply vent    4d. Ensured that the air supply pathway is not obstructed    4e. Ensured that there are no vehicle exhaust, kitchen/food, and chemical odors    4f. Ensured that there are no signs of mold or mildew (refer to Appendix H of the IAQ Reference Guide)    4g. Determined operability of windows   

1 of 2

5.	LOCAL EXHAUST FANS

## Yes	No	N/A

5a.	Located major pollutant-generating activities, if any			

5b.	Located exhaust fan(s), if any			

5c.	Determined that fans operate			

5d.	Ensured that adjacent rooms are free of odor			

6.	PRINTING/DUPLICATING EQUIPMENT

6a.	Checked for odors from equipment			

6b. 	Ensured that equipment is maintained regularly (date of most recent
servicing is usually documented on the machine)			

6c.	Checked that equipment functions properly			

6d.	Ensured that duplicating equipment, printers, and copiers are located in a well-ventilated area, preferably in a separate room with an exhaust fan vented to the outside			

Notes

2 of 2