Walkthrough Inspection Checklist

Name:

School:

Room or Area: 		Date Completed:

Signature:

Instructions

1.  Read the IAQ 
Backgrounder and 
the Background 
Information for 
this checklist.

2.  Keep the 
Background 
Information and 
make a copy of 
the checklist for 
future reference.

3.  Complete the 
Checklist.

•	Check the “yes,” 
“no,” or 
“not applicable” 
box beside each 
item. (A “no” 
response 
requires further 
attention.)

•	Make comments 
in the “Notes” 
section as 
necessary.

4.  Return the checklist 
portion of this 
document to the 
IAQ Coordinator.

1 of 2

1. GROUND LEVEL 1 of 2 ## Yes No N/A 1a. Ensured that offices are dusted and vacuumed regularly    1a. Ensured that ventilation units operate properly    1b. Ensured there are no obstructions blocking air intakes    1c. Checked for nests and droppings near outdoor air intakes    1d. Determined that dumpsters are located away from doors, windows, and outdoor air intakes    1e. Checked potential sources of air contaminants near the building (chimneys, stacks, industrial plants, exhaust from nearby buildings)    1f. Ensured that vehicles avoid idling near outdoor air intakes    1g. Minimized pesticide application    1h. Ensured that there is proper drainage away from the building (including roof downspouts)    1i. Ensured that sprinklers spray away from the building and outdoor air intakes    1j. Ensured that walk-off mats are used at exterior entrances and that they are cleaned regularly    2. ROOF While on the roof, consider inspecting the HVAC units (use the Ventilation Checklist). 2a. Ensured that the roof is in good condition    2b. Checked for evidence of water ponding    2c. Checked that ventilation units operate properly (air flows in)    2d. Ensured that exhaust fans operate properly (air flows out)    2e. Ensured that air intakes remain open, even at minimum setting    2f. Checked for nests and droppings near outdoor air intakes    2g. Ensured that air from plumbing stacks and exhaust outlets flows away from outdoor air intakes    3. ATTIC 3a. Checked for evidence of roof and plumbing leaks    3b. Checked for birds and animal nests    4. GENERAL CONSIDERATIONS 4a. Ensured that temperature and humidity are maintained within acceptable ranges    4b. Ensured that no obstructions exist in supply and exhaust vents   

4. GENERAL CONSIDERATIONS (continued)

## Yes	No	N/A

4c.	Checked for odors			

4d.	Checked for signs of mold and mildew growth			

4e.	Checked for signs of water damage			

4f.	Checked for evidence of pests and obvious food sources			

4g.	Noted and reviewed all concerns from school occupants			

5.  BATHROOMS AND GENERAL PLUMBING

5a.	Ensured that bathrooms and restrooms have operating exhaust fans			

5b.	Ensured proper drain trap maintenance:

Water is poured down floor drains once per week (approx. 1 quart of water)			

Water is poured into sinks at least once per week (about 2 cups of water)			

Toilets are flushed at least once per week			

6.  MAINTENANCE SUPPLIES

6a.	Ensured that chemicals are used only with adequate ventilation and when 
building is unoccupied			

6b.	Ensured that vents in chemical and trash storage areas are operating
properly			

6c.	Ensured that portable fuel containers are properly closed			

6d.	Ensured that power equipment, like snowblowers and lawn mowers, have 
been serviced and maintained according to manufacturers’ guidelines			

7.  COMBUSTION APPLIANCES

7a.	Checked for combustion gas and fuel odors			

7b.	Ensured that combustion appliances have flues or exhaust hoods			

7c. 	Checked for leaks, disconnections, and deterioration			

7d. 	Ensured there is no soot on inside or outside of flue components			

8.  OTHER

8a. 	Checked for peeling and flaking paint (if the building was built before 
1980, this could be a lead hazard)			

8b.	Determined date of last radon test			

NOTES

2 of 2